## count_by_panel
panel_amp_pre | Count frequency (number of times a panel size appears) | Share of panels | panel_amp_pre_bin | Panel size is divisible by 5 | All the non-integer panel sizes appear once
12 | 1 | 0.003507% | lt_100 | FALSE
20 | 1 | 0.003507% | lt_100 | TRUE
40 | 1 | 0.003507% | lt_100 | TRUE
56.8 | 1 | 0.003507% | lt_100 | FALSE
65 | 1 | 0.003507% | lt_100 | TRUE
73 | 1 | 0.003507% | lt_100 | FALSE
75.6 | 1 | 0.003507% | lt_100 | FALSE
75.7 | 1 | 0.003507% | lt_100 | FALSE
79.7 | 1 | 0.003507% | lt_100 | FALSE
89 | 1 | 0.003507% | lt_100 | FALSE
89.9 | 1 | 0.003507% | lt_100 | FALSE
92.8 | 1 | 0.003507% | lt_100 | FALSE
96.8 | 1 | 0.003507% | lt_100 | FALSE
100.6 | 1 | 0.003507% | 101-199 | FALSE
103.8 | 1 | 0.003507% | 101-199 | FALSE
106.5 | 1 | 0.003507% | 101-199 | FALSE
109.7 | 1 | 0.003507% | 101-199 | FALSE
109.9 | 1 | 0.003507% | 101-199 | FALSE
110.2 | 1 | 0.003507% | 101-199 | FALSE
123.9 | 1 | 0.003507% | 101-199 | FALSE
124 | 1 | 0.003507% | 101-199 | FALSE
128.2 | 1 | 0.003507% | 101-199 | FALSE
139.8 | 1 | 0.003507% | 101-199 | FALSE
141.6 | 1 | 0.003507% | 101-199 | FALSE
155 | 1 | 0.003507% | 101-199 | TRUE
165 | 1 | 0.003507% | 101-199 | TRUE
166.3 | 1 | 0.003507% | 101-199 | FALSE
185 | 1 | 0.003507% | 101-199 | TRUE
208 | 1 | 0.003507% | 201+ | FALSE
215 | 1 | 0.003507% | 201+ | TRUE
295 | 1 | 0.003507% | 201+ | TRUE
305 | 1 | 0.003507% | 201+ | TRUE
330 | 1 | 0.003507% | 201+ | TRUE
345 | 1 | 0.003507% | 201+ | TRUE
355 | 1 | 0.003507% | 201+ | TRUE
395 | 1 | 0.003507% | 201+ | TRUE
408 | 1 | 0.003507% | 201+ | FALSE
425 | 1 | 0.003507% | 201+ | TRUE
455 | 1 | 0.003507% | 201+ | TRUE
480 | 1 | 0.003507% | 201+ | TRUE
485 | 1 | 0.003507% | 201+ | TRUE
545 | 1 | 0.003507% | 201+ | TRUE
550 | 1 | 0.003507% | 201+ | TRUE
570 | 1 | 0.003507% | 201+ | TRUE
585 | 1 | 0.003507% | 201+ | TRUE
595 | 1 | 0.003507% | 201+ | TRUE
625 | 1 | 0.003507% | 201+ | TRUE
655 | 1 | 0.003507% | 201+ | TRUE
665 | 1 | 0.003507% | 201+ | TRUE
680 | 1 | 0.003507% | 201+ | TRUE
700 | 1 | 0.003507% | 201+ | TRUE
725 | 1 | 0.003507% | 201+ | TRUE
730 | 1 | 0.003507% | 201+ | TRUE
740 | 1 | 0.003507% | 201+ | TRUE
745 | 1 | 0.003507% | 201+ | TRUE
760 | 1 | 0.003507% | 201+ | TRUE
795 | 1 | 0.003507% | 201+ | TRUE
805 | 1 | 0.003507% | 201+ | TRUE
820 | 1 | 0.003507% | 201+ | TRUE
855 | 1 | 0.003507% | 201+ | TRUE
870 | 1 | 0.003507% | 201+ | TRUE
895 | 1 | 0.003507% | 201+ | TRUE
905 | 1 | 0.003507% | 201+ | TRUE
945 | 1 | 0.003507% | 201+ | TRUE
965 | 1 | 0.003507% | 201+ | TRUE
1025 | 1 | 0.003507% | 201+ | TRUE
1085 | 1 | 0.003507% | 201+ | TRUE
1320 | 1 | 0.003507% | 201+ | TRUE
1325 | 1 | 0.003507% | 201+ | TRUE
2158 | 1 | 0.003507% | 201+ | FALSE
2238 | 1 | 0.003507% | 201+ | FALSE
2277 | 1 | 0.003507% | 201+ | FALSE
2510 | 1 | 0.003507% | 201+ | TRUE
55 | 2 | 0.007014% | lt_100 | TRUE
75 | 2 | 0.007014% | lt_100 | TRUE
99 | 2 | 0.007014% | lt_100 | FALSE
105.4 | 2 | 0.007014% | 101-199 | FALSE
195 | 2 | 0.007014% | 101-199 | TRUE
199 | 2 | 0.007014% | 101-199 | FALSE
202 | 2 | 0.007014% | 201+ | FALSE
205 | 2 | 0.007014% | 201+ | TRUE
235 | 2 | 0.007014% | 201+ | TRUE
260 | 2 | 0.007014% | 201+ | TRUE
270 | 2 | 0.007014% | 201+ | TRUE
290 | 2 | 0.007014% | 201+ | TRUE
325 | 2 | 0.007014% | 201+ | TRUE
370 | 2 | 0.007014% | 201+ | TRUE
380 | 2 | 0.007014% | 201+ | TRUE
385 | 2 | 0.007014% | 201+ | TRUE
415 | 2 | 0.007014% | 201+ | TRUE
430 | 2 | 0.007014% | 201+ | TRUE
435 | 2 | 0.007014% | 201+ | TRUE
450 | 2 | 0.007014% | 201+ | TRUE
460 | 2 | 0.007014% | 201+ | TRUE
470 | 2 | 0.007014% | 201+ | TRUE
515 | 2 | 0.007014% | 201+ | TRUE
525 | 2 | 0.007014% | 201+ | TRUE
535 | 2 | 0.007014% | 201+ | TRUE
560 | 2 | 0.007014% | 201+ | TRUE
575 | 2 | 0.007014% | 201+ | TRUE
580 | 2 | 0.007014% | 201+ | TRUE
630 | 2 | 0.007014% | 201+ | TRUE
650 | 2 | 0.007014% | 201+ | TRUE
660 | 2 | 0.007014% | 201+ | TRUE
670 | 2 | 0.007014% | 201+ | TRUE
720 | 2 | 0.007014% | 201+ | TRUE
115 | 3 | 0.01052% | 101-199 | TRUE
128 | 3 | 0.01052% | 101-199 | FALSE
145 | 3 | 0.01052% | 101-199 | TRUE
190 | 3 | 0.01052% | 101-199 | TRUE
245 | 3 | 0.01052% | 201+ | TRUE
255 | 3 | 0.01052% | 201+ | TRUE
265 | 3 | 0.01052% | 201+ | TRUE
285 | 3 | 0.01052% | 201+ | TRUE
335 | 3 | 0.01052% | 201+ | TRUE
375 | 3 | 0.01052% | 201+ | TRUE
390 | 3 | 0.01052% | 201+ | TRUE
405 | 3 | 0.01052% | 201+ | TRUE
500 | 3 | 0.01052% | 201+ | TRUE
505 | 3 | 0.01052% | 201+ | TRUE
530 | 3 | 0.01052% | 201+ | TRUE
540 | 3 | 0.01052% | 201+ | TRUE
590 | 3 | 0.01052% | 201+ | TRUE
640 | 3 | 0.01052% | 201+ | TRUE
10000 | 3 | 0.01052% | 201+ | TRUE
320 | 4 | 0.01403% | 201+ | TRUE
340 | 4 | 0.01403% | 201+ | TRUE
365 | 4 | 0.01403% | 201+ | TRUE
445 | 4 | 0.01403% | 201+ | TRUE
465 | 4 | 0.01403% | 201+ | TRUE
520 | 4 | 0.01403% | 201+ | TRUE
2000 | 4 | 0.01403% | 201+ | TRUE
310 | 5 | 0.01754% | 201+ | TRUE
350 | 5 | 0.01754% | 201+ | TRUE
360 | 5 | 0.01754% | 201+ | TRUE
420 | 5 | 0.01754% | 201+ | TRUE
440 | 5 | 0.01754% | 201+ | TRUE
475 | 5 | 0.01754% | 201+ | TRUE
280 | 7 | 0.02455% | 201+ | TRUE
170 | 8 | 0.02806% | 101-199 | TRUE
490 | 8 | 0.02806% | 201+ | TRUE
610 | 8 | 0.02806% | 201+ | TRUE
275 | 9 | 0.03156% | 201+ | TRUE
800 | 9 | 0.03156% | 201+ | TRUE
210 | 10 | 0.03507% | 201+ | TRUE
410 | 12 | 0.04208% | 201+ | TRUE
130 | 17 | 0.05962% | 101-199 | TRUE
160 | 17 | 0.05962% | 101-199 | TRUE
80 | 18 | 0.06313% | lt_100 | TRUE
30 | 22 | 0.07716% | lt_100 | TRUE
600 | 25 | 0.08768% | 201+ | TRUE
140 | 26 | 0.09118% | 101-199 | TRUE
1000 | 30 | 0.1052% | 201+ | TRUE
230 | 32 | 0.1122% | 201+ | TRUE
180 | 43 | 0.1508% | 101-199 | TRUE
70 | 49 | 0.1718% | lt_100 | TRUE
110 | 50 | 0.1754% | 101-199 | TRUE
225 | 77 | 0.27% | 201+ | TRUE
300 | 99 | 0.3472% | 201+ | TRUE
120 | 104 | 0.3647% | 101-199 | TRUE
50 | 108 | 0.3788% | lt_100 | TRUE
400 | 120 | 0.4208% | 201+ | TRUE
60 | 129 | 0.4524% | lt_100 | TRUE
240 | 149 | 0.5226% | 201+ | TRUE
250 | 160 | 0.5611% | 201+ | TRUE
175 | 173 | 0.6067% | 101-199 | TRUE
220 | 201 | 0.7049% | 201+ | TRUE
90 | 216 | 0.7575% | lt_100 | TRUE
150 | 820 | 2.876% | 101-199 | TRUE
125 | 3029 | 10.62% | 101-199 | TRUE
100 | 8890 | 31.18% | 100 | TRUE
200 | 13585 | 47.64% | 200 | TRUE

## share_by_prog
source | panel_amp_pre | Count frequency (number of times a panel size appears) | Number of panels by source | Share of panels in source
bayren | 40 | 1 | 6259 | 0.01598% | TECH has all of the non-integer panel sizes
bayren | 65 | 1 | 6259 | 0.01598%
bayren | 115 | 1 | 6259 | 0.01598%
bayren | 124 | 1 | 6259 | 0.01598%
bayren | 145 | 1 | 6259 | 0.01598%
bayren | 165 | 1 | 6259 | 0.01598%
bayren | 185 | 1 | 6259 | 0.01598%
bayren | 195 | 1 | 6259 | 0.01598%
bayren | 215 | 1 | 6259 | 0.01598%
bayren | 245 | 1 | 6259 | 0.01598%
bayren | 260 | 1 | 6259 | 0.01598%
bayren | 270 | 1 | 6259 | 0.01598%
bayren | 290 | 1 | 6259 | 0.01598%
bayren | 295 | 1 | 6259 | 0.01598%
bayren | 325 | 1 | 6259 | 0.01598%
bayren | 335 | 1 | 6259 | 0.01598%
bayren | 345 | 1 | 6259 | 0.01598%
bayren | 355 | 1 | 6259 | 0.01598%
bayren | 375 | 1 | 6259 | 0.01598%
bayren | 380 | 1 | 6259 | 0.01598%
bayren | 385 | 1 | 6259 | 0.01598%
bayren | 390 | 1 | 6259 | 0.01598%
bayren | 410 | 1 | 6259 | 0.01598%
bayren | 420 | 1 | 6259 | 0.01598%
bayren | 430 | 1 | 6259 | 0.01598%
bayren | 460 | 1 | 6259 | 0.01598%
bayren | 470 | 1 | 6259 | 0.01598%
bayren | 515 | 1 | 6259 | 0.01598%
bayren | 520 | 1 | 6259 | 0.01598%
bayren | 535 | 1 | 6259 | 0.01598%
bayren | 545 | 1 | 6259 | 0.01598%
bayren | 580 | 1 | 6259 | 0.01598%
bayren | 625 | 1 | 6259 | 0.01598%
bayren | 630 | 1 | 6259 | 0.01598%
bayren | 640 | 1 | 6259 | 0.01598%
bayren | 660 | 1 | 6259 | 0.01598%
bayren | 665 | 1 | 6259 | 0.01598%
bayren | 725 | 1 | 6259 | 0.01598%
bayren | 730 | 1 | 6259 | 0.01598%
bayren | 745 | 1 | 6259 | 0.01598%
bayren | 795 | 1 | 6259 | 0.01598%
bayren | 805 | 1 | 6259 | 0.01598%
bayren | 820 | 1 | 6259 | 0.01598%
bayren | 855 | 1 | 6259 | 0.01598%
bayren | 870 | 1 | 6259 | 0.01598%
bayren | 895 | 1 | 6259 | 0.01598%
bayren | 905 | 1 | 6259 | 0.01598%
bayren | 965 | 1 | 6259 | 0.01598%
bayren | 1085 | 1 | 6259 | 0.01598%
bayren | 1320 | 1 | 6259 | 0.01598%
bayren | 99 | 2 | 6259 | 0.03195%
bayren | 199 | 2 | 6259 | 0.03195%
bayren | 205 | 2 | 6259 | 0.03195%
bayren | 235 | 2 | 6259 | 0.03195%
bayren | 265 | 2 | 6259 | 0.03195%
bayren | 285 | 2 | 6259 | 0.03195%
bayren | 310 | 2 | 6259 | 0.03195%
bayren | 320 | 2 | 6259 | 0.03195%
bayren | 340 | 2 | 6259 | 0.03195%
bayren | 360 | 2 | 6259 | 0.03195%
bayren | 370 | 2 | 6259 | 0.03195%
bayren | 405 | 2 | 6259 | 0.03195%
bayren | 415 | 2 | 6259 | 0.03195%
bayren | 435 | 2 | 6259 | 0.03195%
bayren | 450 | 2 | 6259 | 0.03195%
bayren | 475 | 2 | 6259 | 0.03195%
bayren | 500 | 2 | 6259 | 0.03195%
bayren | 530 | 2 | 6259 | 0.03195%
bayren | 590 | 2 | 6259 | 0.03195%
bayren | 600 | 2 | 6259 | 0.03195%
bayren | 650 | 2 | 6259 | 0.03195%
bayren | 670 | 2 | 6259 | 0.03195%
bayren | 720 | 2 | 6259 | 0.03195%
bayren | 230 | 3 | 6259 | 0.04793%
bayren | 255 | 3 | 6259 | 0.04793%
bayren | 350 | 3 | 6259 | 0.04793%
bayren | 365 | 3 | 6259 | 0.04793%
bayren | 445 | 3 | 6259 | 0.04793%
bayren | 465 | 3 | 6259 | 0.04793%
bayren | 490 | 3 | 6259 | 0.04793%
bayren | 505 | 3 | 6259 | 0.04793%
bayren | 610 | 3 | 6259 | 0.04793%
bayren | 80 | 4 | 6259 | 0.06391%
bayren | 440 | 4 | 6259 | 0.06391%
bayren | 50 | 5 | 6259 | 0.07988%
bayren | 280 | 5 | 6259 | 0.07988%
bayren | 170 | 6 | 6259 | 0.09586%
bayren | 30 | 7 | 6259 | 0.1118%
bayren | 210 | 7 | 6259 | 0.1118%
bayren | 275 | 7 | 6259 | 0.1118%
bayren | 240 | 8 | 6259 | 0.1278%
bayren | 130 | 10 | 6259 | 0.1598%
bayren | 140 | 10 | 6259 | 0.1598%
bayren | 160 | 10 | 6259 | 0.1598%
bayren | 180 | 13 | 6259 | 0.2077%
bayren | 60 | 14 | 6259 | 0.2237%
bayren | 70 | 14 | 6259 | 0.2237%
bayren | 220 | 14 | 6259 | 0.2237%
bayren | 225 | 14 | 6259 | 0.2237%
bayren | 110 | 16 | 6259 | 0.2556%
bayren | 175 | 19 | 6259 | 0.3036%
bayren | 120 | 22 | 6259 | 0.3515%
bayren | 400 | 23 | 6259 | 0.3675%
bayren | 300 | 28 | 6259 | 0.4474%
bayren | 250 | 35 | 6259 | 0.5592%
bayren | 150 | 154 | 6259 | 2.46%
bayren | 90 | 192 | 6259 | 3.068%
bayren | 125 | 1249 | 6259 | 19.96%
bayren | 200 | 1992 | 6259 | 31.83%
bayren | 100 | 2254 | 6259 | 36.01%
hea | 800 | 9 | 1750 | 0.5143%
hea | 1000 | 13 | 1750 | 0.7429%
hea | 70 | 14 | 1750 | 0.8%
hea | 30 | 15 | 1750 | 0.8571%
hea | 600 | 21 | 1750 | 1.2%
hea | 50 | 26 | 1750 | 1.486%
hea | 60 | 33 | 1750 | 1.886%
hea | 300 | 34 | 1750 | 1.943%
hea | 250 | 45 | 1750 | 2.571%
hea | 400 | 47 | 1750 | 2.686%
hea | 150 | 92 | 1750 | 5.257%
hea | 125 | 167 | 1750 | 9.543%
hea | 100 | 482 | 1750 | 27.54%
hea | 200 | 752 | 1750 | 42.97%
neea | 12 | 1 | 1278 | 0.07825%
neea | 20 | 1 | 1278 | 0.07825%
neea | 80 | 1 | 1278 | 0.07825%
neea | 110 | 1 | 1278 | 0.07825%
neea | 140 | 1 | 1278 | 0.07825%
neea | 175 | 1 | 1278 | 0.07825%
neea | 220 | 1 | 1278 | 0.07825%
neea | 300 | 1 | 1278 | 0.07825%
neea | 310 | 1 | 1278 | 0.07825%
neea | 202 | 2 | 1278 | 0.1565%
neea | 250 | 2 | 1278 | 0.1565%
neea | 50 | 3 | 1278 | 0.2347%
neea | 128 | 3 | 1278 | 0.2347%
neea | 10000 | 3 | 1278 | 0.2347%
neea | 60 | 5 | 1278 | 0.3912%
neea | 120 | 5 | 1278 | 0.3912%
neea | 400 | 5 | 1278 | 0.3912%
neea | 70 | 7 | 1278 | 0.5477%
neea | 150 | 24 | 1278 | 1.878%
neea | 225 | 24 | 1278 | 1.878%
neea | 100 | 80 | 1278 | 6.26%
neea | 125 | 250 | 1278 | 19.56%
neea | 200 | 856 | 1278 | 66.98%
survey | 80 | 1 | 287 | 0.3484%
survey | 175 | 1 | 287 | 0.3484%
survey | 225 | 1 | 287 | 0.3484%
survey | 400 | 1 | 287 | 0.3484%
survey | 125 | 9 | 287 | 3.136%
survey | 150 | 12 | 287 | 4.181%
survey | 100 | 84 | 287 | 29.27%
survey | 200 | 178 | 287 | 62.02%
tech | 56.8 | 1 | 18940 | 0.00528%
tech | 73 | 1 | 18940 | 0.00528%
tech | 75.6 | 1 | 18940 | 0.00528%
tech | 75.7 | 1 | 18940 | 0.00528%
tech | 79.7 | 1 | 18940 | 0.00528%
tech | 89 | 1 | 18940 | 0.00528%
tech | 89.9 | 1 | 18940 | 0.00528%
tech | 92.8 | 1 | 18940 | 0.00528%
tech | 96.8 | 1 | 18940 | 0.00528%
tech | 100.6 | 1 | 18940 | 0.00528%
tech | 103.8 | 1 | 18940 | 0.00528%
tech | 106.5 | 1 | 18940 | 0.00528%
tech | 109.7 | 1 | 18940 | 0.00528%
tech | 109.9 | 1 | 18940 | 0.00528%
tech | 110.2 | 1 | 18940 | 0.00528%
tech | 123.9 | 1 | 18940 | 0.00528%
tech | 128.2 | 1 | 18940 | 0.00528%
tech | 139.8 | 1 | 18940 | 0.00528%
tech | 141.6 | 1 | 18940 | 0.00528%
tech | 155 | 1 | 18940 | 0.00528%
tech | 166.3 | 1 | 18940 | 0.00528%
tech | 195 | 1 | 18940 | 0.00528%
tech | 208 | 1 | 18940 | 0.00528%
tech | 260 | 1 | 18940 | 0.00528%
tech | 265 | 1 | 18940 | 0.00528%
tech | 270 | 1 | 18940 | 0.00528%
tech | 285 | 1 | 18940 | 0.00528%
tech | 290 | 1 | 18940 | 0.00528%
tech | 305 | 1 | 18940 | 0.00528%
tech | 325 | 1 | 18940 | 0.00528%
tech | 330 | 1 | 18940 | 0.00528%
tech | 365 | 1 | 18940 | 0.00528%
tech | 380 | 1 | 18940 | 0.00528%
tech | 385 | 1 | 18940 | 0.00528%
tech | 395 | 1 | 18940 | 0.00528%
tech | 405 | 1 | 18940 | 0.00528%
tech | 408 | 1 | 18940 | 0.00528%
tech | 425 | 1 | 18940 | 0.00528%
tech | 430 | 1 | 18940 | 0.00528%
tech | 440 | 1 | 18940 | 0.00528%
tech | 445 | 1 | 18940 | 0.00528%
tech | 455 | 1 | 18940 | 0.00528%
tech | 460 | 1 | 18940 | 0.00528%
tech | 465 | 1 | 18940 | 0.00528%
tech | 470 | 1 | 18940 | 0.00528%
tech | 480 | 1 | 18940 | 0.00528%
tech | 485 | 1 | 18940 | 0.00528%
tech | 500 | 1 | 18940 | 0.00528%
tech | 515 | 1 | 18940 | 0.00528%
tech | 530 | 1 | 18940 | 0.00528%
tech | 535 | 1 | 18940 | 0.00528%
tech | 550 | 1 | 18940 | 0.00528%
tech | 570 | 1 | 18940 | 0.00528%
tech | 580 | 1 | 18940 | 0.00528%
tech | 585 | 1 | 18940 | 0.00528%
tech | 590 | 1 | 18940 | 0.00528%
tech | 595 | 1 | 18940 | 0.00528%
tech | 630 | 1 | 18940 | 0.00528%
tech | 655 | 1 | 18940 | 0.00528%
tech | 660 | 1 | 18940 | 0.00528%
tech | 680 | 1 | 18940 | 0.00528%
tech | 700 | 1 | 18940 | 0.00528%
tech | 740 | 1 | 18940 | 0.00528%
tech | 760 | 1 | 18940 | 0.00528%
tech | 945 | 1 | 18940 | 0.00528%
tech | 1025 | 1 | 18940 | 0.00528%
tech | 1325 | 1 | 18940 | 0.00528%
tech | 2158 | 1 | 18940 | 0.00528%
tech | 2238 | 1 | 18940 | 0.00528%
tech | 2277 | 1 | 18940 | 0.00528%
tech | 2510 | 1 | 18940 | 0.00528%
tech | 55 | 2 | 18940 | 0.01056%
tech | 75 | 2 | 18940 | 0.01056%
tech | 105.4 | 2 | 18940 | 0.01056%
tech | 115 | 2 | 18940 | 0.01056%
tech | 145 | 2 | 18940 | 0.01056%
tech | 170 | 2 | 18940 | 0.01056%
tech | 245 | 2 | 18940 | 0.01056%
tech | 275 | 2 | 18940 | 0.01056%
tech | 280 | 2 | 18940 | 0.01056%
tech | 310 | 2 | 18940 | 0.01056%
tech | 320 | 2 | 18940 | 0.01056%
tech | 335 | 2 | 18940 | 0.01056%
tech | 340 | 2 | 18940 | 0.01056%
tech | 350 | 2 | 18940 | 0.01056%
tech | 375 | 2 | 18940 | 0.01056%
tech | 390 | 2 | 18940 | 0.01056%
tech | 525 | 2 | 18940 | 0.01056%
tech | 560 | 2 | 18940 | 0.01056%
tech | 575 | 2 | 18940 | 0.01056%
tech | 600 | 2 | 18940 | 0.01056%
tech | 640 | 2 | 18940 | 0.01056%
tech | 190 | 3 | 18940 | 0.01584%
tech | 210 | 3 | 18940 | 0.01584%
tech | 360 | 3 | 18940 | 0.01584%
tech | 475 | 3 | 18940 | 0.01584%
tech | 520 | 3 | 18940 | 0.01584%
tech | 540 | 3 | 18940 | 0.01584%
tech | 420 | 4 | 18940 | 0.02112%
tech | 2000 | 4 | 18940 | 0.02112%
tech | 490 | 5 | 18940 | 0.0264%
tech | 610 | 5 | 18940 | 0.0264%
tech | 130 | 7 | 18940 | 0.03696%
tech | 160 | 7 | 18940 | 0.03696%
tech | 410 | 11 | 18940 | 0.05808%
tech | 80 | 12 | 18940 | 0.06336%
tech | 70 | 14 | 18940 | 0.07392%
tech | 140 | 15 | 18940 | 0.0792%
tech | 1000 | 17 | 18940 | 0.08976%
tech | 90 | 24 | 18940 | 0.1267%
tech | 230 | 29 | 18940 | 0.1531%
tech | 180 | 30 | 18940 | 0.1584%
tech | 110 | 33 | 18940 | 0.1742%
tech | 300 | 36 | 18940 | 0.1901%
tech | 225 | 38 | 18940 | 0.2006%
tech | 400 | 44 | 18940 | 0.2323%
tech | 50 | 74 | 18940 | 0.3907%
tech | 60 | 77 | 18940 | 0.4065%
tech | 120 | 77 | 18940 | 0.4065%
tech | 250 | 78 | 18940 | 0.4118%
tech | 240 | 141 | 18940 | 0.7445%
tech | 175 | 152 | 18940 | 0.8025%
tech | 220 | 186 | 18940 | 0.982%
tech | 150 | 538 | 18940 | 2.841%
tech | 125 | 1354 | 18940 | 7.149%
tech | 100 | 5990 | 18940 | 31.63%
tech | 200 | 9807 | 18940 | 51.78%

## floor area
|  |  | Share of panels in floor area bin by source |  |  |  |  | Number of panels in floor area bin by source
geometry_floor_area_bin | panel_amp_pre | total count | bayren | hea | neea | survey | tech | bayren | hea | neea | survey | tech
0-499 | 60 | 1 |  |  | 7.692% |  |  |  |  | 1
0-499 | 100 | 17 | 64.29% |  | 30.77% |  | 80% | 9 |  | 4 |  | 4
0-499 | 125 | 9 | 28.57% |  | 30.77% |  | 20% | 4 |  | 4 |  | 1
0-499 | 150 | 1 |  |  | 7.692% |  |  |  |  | 1
0-499 | 200 | 4 | 7.143% |  | 23.08% |  |  | 1 |  | 3
1000-1499 | 30 | 11 | 0.07361% | 2.169% |  |  |  | 2 | 9
1000-1499 | 40 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 50 | 26 |  | 1.928% | 0.2237% |  | 0.4293% |  | 8 | 1 |  | 17
1000-1499 | 60 | 31 | 0.2208% | 2.651% |  |  | 0.3535% | 6 | 11 |  |  | 14
1000-1499 | 70 | 20 | 0.2944% | 1.928% | 0.2237% |  | 0.07576% | 8 | 8 | 1 |  | 3
1000-1499 | 75 | 1 |  |  |  |  | 0.02525% |  |  |  |  | 1
1000-1499 | 80 | 5 | 0.03681% |  |  | 1.316% | 0.07576% | 1 |  |  | 1 | 3
1000-1499 | 90 | 84 | 2.944% |  |  |  | 0.101% | 80 |  |  |  | 4
1000-1499 | 92.8 | 1 |  |  |  |  | 0.02525% |  |  |  |  | 1
1000-1499 | 96.8 | 1 |  |  |  |  | 0.02525% |  |  |  |  | 1
1000-1499 | 99 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 100 | 3086 | 39.64% | 34.7% | 6.264% | 39.47% | 45.63% | 1077 | 144 | 28 | 30 | 1807
1000-1499 | 110 | 11 | 0.184% |  |  |  | 0.1515% | 5 |  |  |  | 6
1000-1499 | 115 | 2 | 0.03681% |  |  |  | 0.02525% | 1 |  |  |  | 1
1000-1499 | 120 | 33 | 0.5153% |  | 0.4474% |  | 0.4293% | 14 |  | 2 |  | 17
1000-1499 | 124 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 125 | 954 | 21.05% | 9.398% | 5.817% | 2.632% | 7.955% | 572 | 39 | 26 | 2 | 315
1000-1499 | 130 | 9 | 0.1472% |  |  |  | 0.1263% | 4 |  |  |  | 5
1000-1499 | 140 | 8 | 0.1472% |  |  |  | 0.101% | 4 |  |  |  | 4
1000-1499 | 145 | 2 | 0.03681% |  |  |  | 0.02525% | 1 |  |  |  | 1
1000-1499 | 150 | 207 | 1.914% | 5.783% | 0.8949% | 7.895% | 3.056% | 52 | 24 | 4 | 6 | 121
1000-1499 | 160 | 6 | 0.1472% |  |  |  | 0.05051% | 4 |  |  |  | 2
1000-1499 | 170 | 3 | 0.07361% |  |  |  | 0.02525% | 2 |  |  |  | 1
1000-1499 | 175 | 16 | 0.184% |  |  |  | 0.2778% | 5 |  |  |  | 11
1000-1499 | 180 | 12 | 0.184% |  |  |  | 0.1768% | 5 |  |  |  | 7
1000-1499 | 199 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 200 | 2837 | 28.49% | 35.42% | 83.22% | 48.68% | 38.06% | 774 | 147 | 372 | 37 | 1507
1000-1499 | 208 | 1 |  |  |  |  | 0.02525% |  |  |  |  | 1
1000-1499 | 210 | 3 | 0.1104% |  |  |  |  | 3
1000-1499 | 215 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 220 | 51 | 0.2208% |  |  |  | 1.136% | 6 |  |  |  | 45
1000-1499 | 225 | 17 | 0.184% |  | 2.237% |  | 0.05051% | 5 |  | 10 |  | 2
1000-1499 | 230 | 4 | 0.03681% |  |  |  | 0.07576% | 1 |  |  |  | 3
1000-1499 | 240 | 37 | 0.1472% |  |  |  | 0.8333% | 4 |  |  |  | 33
1000-1499 | 245 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 250 | 25 | 0.4417% | 1.687% |  |  | 0.1515% | 12 | 7 |  |  | 6
1000-1499 | 260 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 265 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 270 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 275 | 1 |  |  |  |  | 0.02525% |  |  |  |  | 1
1000-1499 | 280 | 4 | 0.07361% |  |  |  | 0.05051% | 2 |  |  |  | 2
1000-1499 | 285 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 300 | 20 | 0.2576% | 1.687% |  |  | 0.1515% | 7 | 7 |  |  | 6
1000-1499 | 305 | 1 |  |  |  |  | 0.02525% |  |  |  |  | 1
1000-1499 | 310 | 3 | 0.07361% |  | 0.2237% |  |  | 2 |  | 1
1000-1499 | 320 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 345 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 350 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 355 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 360 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 365 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 370 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 400 | 9 |  | 0.9639% | 0.2237% |  | 0.101% |  | 4 | 1 |  | 4
1000-1499 | 405 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 410 | 2 | 0.03681% |  |  |  | 0.02525% | 1 |  |  |  | 1
1000-1499 | 415 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 435 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 440 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 445 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 450 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 460 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 465 | 3 | 0.07361% |  |  |  | 0.02525% | 2 |  |  |  | 1
1000-1499 | 470 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 475 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 490 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 505 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 515 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 520 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 535 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 545 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 580 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 590 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 600 | 4 | 0.03681% | 0.7229% |  |  |  | 1 | 3
1000-1499 | 610 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 625 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 630 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 640 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 670 | 2 | 0.07361% |  |  |  |  | 2
1000-1499 | 725 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 800 | 1 |  | 0.241% |  |  |  |  | 1
1000-1499 | 870 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 965 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 1000 | 7 |  | 0.7229% |  |  | 0.101% |  | 3 |  |  | 4
1000-1499 | 1085 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 1320 | 1 | 0.03681% |  |  |  |  | 1
1000-1499 | 1325 | 1 |  |  |  |  | 0.02525% |  |  |  |  | 1
1000-1499 | 10000 | 1 |  |  | 0.2237% |  |  |  |  | 1
1500-1999 | 30 | 3 |  | 0.6012% |  |  |  |  | 3
1500-1999 | 50 | 26 | 0.1593% | 0.8016% |  |  | 0.4285% | 3 | 4 |  |  | 19
1500-1999 | 56.8 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
1500-1999 | 60 | 22 | 0.1062% | 1.403% |  |  | 0.2932% | 2 | 7 |  |  | 13
1500-1999 | 65 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 70 | 7 | 0.1593% | 0.4008% |  |  | 0.04511% | 3 | 2 |  |  | 2
1500-1999 | 75.6 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
1500-1999 | 80 | 4 | 0.05311% |  |  |  | 0.06766% | 1 |  |  |  | 3
1500-1999 | 90 | 72 | 3.293% |  |  |  | 0.2255% | 62 |  |  |  | 10
1500-1999 | 100 | 2433 | 35.05% | 33.67% | 2.39% | 34.94% | 35.41% | 660 | 168 | 6 | 29 | 1570
1500-1999 | 110 | 23 | 0.3717% |  |  |  | 0.3608% | 7 |  |  |  | 16
1500-1999 | 115 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
1500-1999 | 120 | 22 | 0.1593% |  |  |  | 0.4285% | 3 |  |  |  | 19
1500-1999 | 125 | 754 | 17.95% | 11.22% | 3.187% | 4.819% | 7.848% | 338 | 56 | 8 | 4 | 348
1500-1999 | 130 | 4 | 0.2124% |  |  |  |  | 4
1500-1999 | 140 | 11 | 0.2655% |  |  |  | 0.1353% | 5 |  |  |  | 6
1500-1999 | 150 | 208 | 2.762% | 5.01% | 1.195% |  | 2.887% | 52 | 25 | 3 |  | 128
1500-1999 | 160 | 5 | 0.2655% |  |  |  |  | 5
1500-1999 | 170 | 4 | 0.1593% |  |  |  | 0.02255% | 3 |  |  |  | 1
1500-1999 | 175 | 33 | 0.1593% |  |  |  | 0.6766% | 3 |  |  |  | 30
1500-1999 | 180 | 10 | 0.1593% |  |  |  | 0.1579% | 3 |  |  |  | 7
1500-1999 | 185 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 190 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
1500-1999 | 195 | 2 | 0.05311% |  |  |  | 0.02255% | 1 |  |  |  | 1
1500-1999 | 200 | 3246 | 35.42% | 38.68% | 90.44% | 60.24% | 47.56% | 667 | 193 | 227 | 50 | 2109
1500-1999 | 202 | 1 |  |  | 0.3984% |  |  |  |  | 1
1500-1999 | 205 | 2 | 0.1062% |  |  |  |  | 2
1500-1999 | 210 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 220 | 59 | 0.1062% |  |  |  | 1.286% | 2 |  |  |  | 57
1500-1999 | 225 | 14 | 0.1593% |  | 1.594% |  | 0.1579% | 3 |  | 4 |  | 7
1500-1999 | 230 | 12 | 0.1062% |  |  |  | 0.2255% | 2 |  |  |  | 10
1500-1999 | 235 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 240 | 40 | 0.1062% |  |  |  | 0.857% | 2 |  |  |  | 38
1500-1999 | 250 | 45 | 0.7435% | 3.607% |  |  | 0.2932% | 14 | 18 |  |  | 13
1500-1999 | 275 | 4 | 0.2124% |  |  |  |  | 4
1500-1999 | 280 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 290 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 300 | 28 | 0.478% | 1.603% |  |  | 0.2481% | 9 | 8 |  |  | 11
1500-1999 | 325 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
1500-1999 | 350 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 365 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 390 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
1500-1999 | 400 | 13 | 0.2124% | 1.002% | 0.7968% |  | 0.04511% | 4 | 5 | 2 |  | 2
1500-1999 | 410 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
1500-1999 | 420 | 2 | 0.05311% |  |  |  | 0.02255% | 1 |  |  |  | 1
1500-1999 | 430 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 440 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 445 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 450 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 505 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 530 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 600 | 7 | 0.05311% | 1.002% |  |  | 0.02255% | 1 | 5 |  |  | 1
1500-1999 | 720 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 800 | 3 |  | 0.6012% |  |  |  |  | 3
1500-1999 | 805 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 855 | 1 | 0.05311% |  |  |  |  | 1
1500-1999 | 1000 | 5 |  | 0.4008% |  |  | 0.06766% |  | 2 |  |  | 3
1500-1999 | 1025 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
1500-1999 | 2000 | 1 |  |  |  |  | 0.02255% |  |  |  |  | 1
2000-2499 | 30 | 2 | 0.1567% | 0.271% |  |  |  | 1 | 1
2000-2499 | 50 | 21 |  | 1.897% |  |  | 0.436% |  | 7 |  |  | 14
2000-2499 | 55 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 60 | 16 | 0.1567% | 1.084% |  |  | 0.3426% | 1 | 4 |  |  | 11
2000-2499 | 70 | 7 |  | 0.813% |  |  | 0.1246% |  | 3 |  |  | 4
2000-2499 | 80 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 89 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 90 | 18 | 2.194% |  |  |  | 0.1246% | 14 |  |  |  | 4
2000-2499 | 100 | 1120 | 28.84% | 28.73% |  | 16.33% | 25.6% | 184 | 106 |  | 8 | 822
2000-2499 | 106.5 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 110 | 6 | 0.1567% |  |  |  | 0.1557% | 1 |  |  |  | 5
2000-2499 | 120 | 15 |  |  |  |  | 0.4671% |  |  |  |  | 15
2000-2499 | 125 | 323 | 15.2% | 11.92% |  | 4.082% | 5.606% | 97 | 44 |  | 2 | 180
2000-2499 | 128.2 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 130 | 2 | 0.1567% |  |  |  | 0.03114% | 1 |  |  |  | 1
2000-2499 | 140 | 4 |  |  |  |  | 0.1246% |  |  |  |  | 4
2000-2499 | 150 | 138 | 3.605% | 4.336% |  | 6.122% | 2.99% | 23 | 16 |  | 3 | 96
2000-2499 | 160 | 4 | 0.1567% |  |  |  | 0.09343% | 1 |  |  |  | 3
2000-2499 | 175 | 38 | 0.627% |  |  |  | 1.059% | 4 |  |  |  | 34
2000-2499 | 180 | 8 | 0.3135% |  |  |  | 0.1869% | 2 |  |  |  | 6
2000-2499 | 200 | 2460 | 42.63% | 44.17% | 95.18% | 73.47% | 59.48% | 272 | 163 | 79 | 36 | 1910
2000-2499 | 220 | 39 | 0.4702% |  |  |  | 1.121% | 3 |  |  |  | 36
2000-2499 | 225 | 11 | 0.627% |  | 2.41% |  | 0.1557% | 4 |  | 2 |  | 5
2000-2499 | 230 | 5 |  |  |  |  | 0.1557% |  |  |  |  | 5
2000-2499 | 240 | 26 | 0.1567% |  |  |  | 0.7786% | 1 |  |  |  | 25
2000-2499 | 250 | 21 | 0.7837% | 0.813% |  |  | 0.4049% | 5 | 3 |  |  | 13
2000-2499 | 255 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 275 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 280 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 285 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 300 | 19 | 0.9404% | 2.168% | 1.205% |  | 0.1246% | 6 | 8 | 1 |  | 4
2000-2499 | 350 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 370 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 375 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 380 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 390 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 400 | 14 | 0.627% | 1.897% | 1.205% |  | 0.06229% | 4 | 7 | 1 |  | 2
2000-2499 | 410 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 440 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 490 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 600 | 3 |  | 0.813% |  |  |  |  | 3
2000-2499 | 720 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 745 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 800 | 2 |  | 0.542% |  |  |  |  | 2
2000-2499 | 905 | 1 | 0.1567% |  |  |  |  | 1
2000-2499 | 1000 | 4 |  | 0.542% |  |  | 0.06229% |  | 2 |  |  | 2
2000-2499 | 2000 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 2158 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 2238 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2000-2499 | 2277 | 1 |  |  |  |  | 0.03114% |  |  |  |  | 1
2500-2999 | 50 | 10 |  | 0.5988% |  |  | 0.4532% |  | 1 |  |  | 9
2500-2999 | 55 | 1 |  |  |  |  | 0.05035% |  |  |  |  | 1
2500-2999 | 60 | 5 |  | 1.198% | 5.556% |  | 0.1007% |  | 2 | 1 |  | 2
2500-2999 | 80 | 1 |  |  |  |  | 0.05035% |  |  |  |  | 1
2500-2999 | 90 | 6 | 2.825% |  |  |  | 0.05035% | 5 |  |  |  | 1
2500-2999 | 100 | 481 | 18.08% | 13.77% |  | 3.846% | 21.4% | 32 | 23 |  | 1 | 425
2500-2999 | 110 | 3 |  |  |  |  | 0.1511% |  |  |  |  | 3
2500-2999 | 120 | 8 | 1.13% |  |  |  | 0.3021% | 2 |  |  |  | 6
2500-2999 | 125 | 122 | 10.17% | 8.982% |  | 3.846% | 4.431% | 18 | 15 |  | 1 | 88
2500-2999 | 150 | 68 | 3.39% | 7.186% |  |  | 2.518% | 6 | 12 |  |  | 50
2500-2999 | 175 | 37 | 2.26% |  |  | 3.846% | 1.611% | 4 |  |  | 1 | 32
2500-2999 | 180 | 4 |  |  |  |  | 0.2014% |  |  |  |  | 4
2500-2999 | 200 | 1525 | 53.11% | 56.29% | 88.89% | 84.62% | 65.41% | 94 | 94 | 16 | 22 | 1299
2500-2999 | 210 | 2 | 1.13% |  |  |  |  | 2
2500-2999 | 220 | 12 | 0.565% |  |  |  | 0.5539% | 1 |  |  |  | 11
2500-2999 | 225 | 11 | 0.565% |  |  | 3.846% | 0.4532% | 1 |  |  | 1 | 9
2500-2999 | 230 | 5 |  |  |  |  | 0.2518% |  |  |  |  | 5
2500-2999 | 240 | 18 |  |  |  |  | 0.9063% |  |  |  |  | 18
2500-2999 | 250 | 19 | 1.695% | 1.796% |  |  | 0.6546% | 3 | 3 |  |  | 13
2500-2999 | 295 | 1 | 0.565% |  |  |  |  | 1
2500-2999 | 300 | 9 | 1.13% | 2.994% |  |  | 0.1007% | 2 | 5 |  |  | 2
2500-2999 | 360 | 1 |  |  |  |  | 0.05035% |  |  |  |  | 1
2500-2999 | 400 | 13 | 2.825% | 2.994% | 5.556% |  | 0.1007% | 5 | 5 | 1 |  | 2
2500-2999 | 440 | 1 | 0.565% |  |  |  |  | 1
2500-2999 | 600 | 3 |  | 1.796% |  |  |  |  | 3
2500-2999 | 800 | 2 |  | 1.198% |  |  |  |  | 2
2500-2999 | 1000 | 4 |  | 1.198% |  |  | 0.1007% |  | 2 |  |  | 2
2500-2999 | 2000 | 1 |  |  |  |  | 0.05035% |  |  |  |  | 1
2500-2999 | 2510 | 1 |  |  |  |  | 0.05035% |  |  |  |  | 1
3000-3999 | 50 | 5 |  |  |  |  | 0.2875% |  |  |  |  | 5
3000-3999 | 60 | 3 |  | 0.6173% |  |  | 0.115% |  | 1 |  |  | 2
3000-3999 | 70 | 1 |  |  |  |  | 0.0575% |  |  |  |  | 1
3000-3999 | 75 | 1 |  |  |  |  | 0.0575% |  |  |  |  | 1
3000-3999 | 90 | 6 | 7.143% |  |  |  |  | 6
3000-3999 | 100 | 366 | 11.9% | 9.877% |  | 13.04% | 19.38% | 10 | 16 |  | 3 | 337
3000-3999 | 110 | 1 | 1.19% |  |  |  |  | 1
3000-3999 | 120 | 4 |  |  |  |  | 0.23% |  |  |  |  | 4
3000-3999 | 125 | 72 | 11.9% | 3.704% |  |  | 3.22% | 10 | 6 |  |  | 56
3000-3999 | 150 | 58 | 3.571% | 8.025% |  | 4.348% | 2.358% | 3 | 13 |  | 1 | 41
3000-3999 | 175 | 28 | 1.19% |  |  |  | 1.553% | 1 |  |  |  | 27
3000-3999 | 180 | 2 |  |  |  |  | 0.115% |  |  |  |  | 2
3000-3999 | 200 | 1356 | 53.57% | 62.35% | 100% | 78.26% | 68.09% | 45 | 101 | 8 | 18 | 1184
3000-3999 | 220 | 20 |  |  |  |  | 1.15% |  |  |  |  | 20
3000-3999 | 225 | 6 | 1.19% |  |  |  | 0.2875% | 1 |  |  |  | 5
3000-3999 | 230 | 1 |  |  |  |  | 0.0575% |  |  |  |  | 1
3000-3999 | 240 | 15 |  |  |  |  | 0.8626% |  |  |  |  | 15
3000-3999 | 250 | 22 |  | 2.469% |  |  | 1.035% |  | 4 |  |  | 18
3000-3999 | 300 | 14 | 2.381% | 3.086% |  |  | 0.4025% | 2 | 5 |  |  | 7
3000-3999 | 335 | 1 |  |  |  |  | 0.0575% |  |  |  |  | 1
3000-3999 | 360 | 1 |  |  |  |  | 0.0575% |  |  |  |  | 1
3000-3999 | 400 | 22 | 5.952% | 6.173% |  | 4.348% | 0.345% | 5 | 10 |  | 1 | 6
3000-3999 | 410 | 1 |  |  |  |  | 0.0575% |  |  |  |  | 1
3000-3999 | 600 | 1 |  | 0.6173% |  |  |  |  | 1
3000-3999 | 800 | 1 |  | 0.6173% |  |  |  |  | 1
3000-3999 | 1000 | 7 |  | 2.469% |  |  | 0.1725% |  | 4 |  |  | 3
3000-3999 | 2000 | 1 |  |  |  |  | 0.0575% |  |  |  |  | 1
4000+ | 30 | 1 | 3.846% |  |  |  |  | 1
4000+ | 60 | 3 |  | 1.667% |  |  | 0.2817% |  | 1 |  |  | 2
4000+ | 70 | 1 |  |  |  |  | 0.1408% |  |  |  |  | 1
4000+ | 80 | 2 |  |  |  |  | 0.2817% |  |  |  |  | 2
4000+ | 90 | 1 |  |  |  |  | 0.1408% |  |  |  |  | 1
4000+ | 100 | 181 | 7.692% | 5% |  | 18.18% | 24.51% | 2 | 3 |  | 2 | 174
4000+ | 120 | 2 |  |  |  |  | 0.2817% |  |  |  |  | 2
4000+ | 125 | 26 | 7.692% | 3.333% |  |  | 3.099% | 2 | 2 |  |  | 22
4000+ | 145 | 1 |  |  |  |  | 0.1408% |  |  |  |  | 1
4000+ | 150 | 13 | 3.846% |  |  |  | 1.69% | 1 |  |  |  | 12
4000+ | 175 | 5 |  |  |  |  | 0.7042% |  |  |  |  | 5
4000+ | 180 | 1 |  |  |  |  | 0.1408% |  |  |  |  | 1
4000+ | 200 | 492 | 61.54% | 55% | 100% | 81.82% | 60.99% | 16 | 33 | 1 | 9 | 433
4000+ | 220 | 10 |  |  |  |  | 1.408% |  |  |  |  | 10
4000+ | 225 | 3 |  |  |  |  | 0.4225% |  |  |  |  | 3
4000+ | 230 | 5 |  |  |  |  | 0.7042% |  |  |  |  | 5
4000+ | 240 | 3 |  |  |  |  | 0.4225% |  |  |  |  | 3
4000+ | 250 | 9 |  | 5% |  |  | 0.8451% |  | 3 |  |  | 6
4000+ | 300 | 5 |  | 1.667% |  |  | 0.5634% |  | 1 |  |  | 4
4000+ | 350 | 1 |  |  |  |  | 0.1408% |  |  |  |  | 1
4000+ | 400 | 37 | 15.38% | 21.67% |  |  | 2.817% | 4 | 13 |  |  | 20
4000+ | 600 | 5 |  | 6.667% |  |  | 0.1408% |  | 4 |  |  | 1
4000+ | 1000 | 1 |  |  |  |  | 0.1408% |  |  |  |  | 1
500-749 | 20 | 1 |  |  | 1.754% |  |  |  |  | 1
500-749 | 30 | 3 | 1.796% |  |  |  |  | 3
500-749 | 50 | 2 |  |  |  |  | 1.77% |  |  |  |  | 2
500-749 | 60 | 6 | 1.796% | 22.22% |  |  | 0.885% | 3 | 2 |  |  | 1
500-749 | 70 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 80 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 90 | 4 | 0.5988% |  |  |  | 2.655% | 1 |  |  |  | 3
500-749 | 100 | 140 | 41.32% | 33.33% | 10.53% | 60% | 52.21% | 69 | 3 | 6 | 3 | 59
500-749 | 110 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 120 | 3 | 1.198% |  |  |  | 0.885% | 2 |  |  |  | 1
500-749 | 125 | 76 | 30.54% |  | 28.07% |  | 7.965% | 51 |  | 16 |  | 9
500-749 | 130 | 1 |  |  |  |  | 0.885% |  |  |  |  | 1
500-749 | 150 | 6 | 1.198% |  | 5.263% |  | 0.885% | 2 |  | 3 |  | 1
500-749 | 175 | 2 | 1.198% |  |  |  |  | 2
500-749 | 200 | 79 | 10.18% | 11.11% | 45.61% | 40% | 29.2% | 17 | 1 | 26 | 2 | 33
500-749 | 202 | 1 |  |  | 1.754% |  |  |  |  | 1
500-749 | 220 | 4 | 0.5988% |  | 1.754% |  | 1.77% | 1 |  | 1 |  | 2
500-749 | 225 | 4 |  |  | 5.263% |  | 0.885% |  |  | 3 |  | 1
500-749 | 235 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 250 | 3 |  | 33.33% |  |  |  |  | 3
500-749 | 275 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 300 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 340 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 365 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 445 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 465 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 500 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 650 | 2 | 1.198% |  |  |  |  | 2
500-749 | 665 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 795 | 1 | 0.5988% |  |  |  |  | 1
500-749 | 895 | 1 | 0.5988% |  |  |  |  | 1
750-999 | 30 | 2 |  | 2.899% |  |  |  |  | 2 |  |  |  | Very lage panels in small residential detached don't make sense
750-999 | 50 | 15 | 0.3617% | 8.696% | 0.6024% |  | 0.9709% | 2 | 6 | 1 |  | 6 | Drop 10000A panels in single family residences with floor area lt 4000. (affects two buildings from the NEEA data)
750-999 | 60 | 9 | 0.3617% | 7.246% |  |  | 0.3236% | 2 | 5 |  |  | 2
750-999 | 70 | 5 | 0.3617% | 1.449% | 0.6024% |  | 0.1618% | 2 | 1 | 1 |  | 1
750-999 | 73 | 1 |  |  |  |  | 0.1618% |  |  |  |  | 1
750-999 | 80 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 90 | 25 | 4.34% |  |  |  | 0.1618% | 24 |  |  |  | 1
750-999 | 100 | 560 | 38.16% | 27.54% | 10.24% | 63.64% | 49.51% | 211 | 19 | 17 | 7 | 306
750-999 | 110 | 3 | 0.1808% |  | 0.6024% |  | 0.1618% | 1 |  | 1 |  | 1
750-999 | 120 | 5 | 0.1808% |  | 0.6024% |  | 0.4854% | 1 |  | 1 |  | 3
750-999 | 125 | 239 | 28.39% | 7.246% | 14.46% |  | 8.576% | 157 | 5 | 24 |  | 53
750-999 | 130 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 140 | 2 | 0.1808% |  |  |  | 0.1618% | 1 |  |  |  | 1
750-999 | 150 | 40 | 2.712% | 2.899% | 2.41% | 18.18% | 2.751% | 15 | 2 | 4 | 2 | 17
750-999 | 160 | 1 |  |  |  |  | 0.1618% |  |  |  |  | 1
750-999 | 165 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 170 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 175 | 3 |  |  |  |  | 0.4854% |  |  |  |  | 3
750-999 | 180 | 4 | 0.5425% |  |  |  | 0.1618% | 3 |  |  |  | 1
750-999 | 200 | 445 | 19.17% | 28.99% | 65.66% | 18.18% | 33.66% | 106 | 20 | 109 | 2 | 208
750-999 | 210 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 220 | 4 | 0.1808% |  |  |  | 0.4854% | 1 |  |  |  | 3
750-999 | 225 | 5 |  |  | 2.41% |  | 0.1618% |  |  | 4 |  | 1
750-999 | 240 | 3 | 0.1808% |  |  |  | 0.3236% | 1 |  |  |  | 2
750-999 | 250 | 10 | 0.1808% | 5.797% | 1.205% |  | 0.4854% | 1 | 4 | 2 |  | 3
750-999 | 255 | 2 | 0.3617% |  |  |  |  | 2
750-999 | 275 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 280 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 300 | 2 | 0.1808% |  |  |  | 0.1618% | 1 |  |  |  | 1
750-999 | 325 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 335 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 340 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 385 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 400 | 4 | 0.1808% | 4.348% |  |  |  | 1 | 3
750-999 | 405 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 410 | 1 |  |  |  |  | 0.1618% |  |  |  |  | 1
750-999 | 415 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 435 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 500 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 505 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 530 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 600 | 2 |  | 2.899% |  |  |  |  | 2
750-999 | 610 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 660 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 730 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 820 | 1 | 0.1808% |  |  |  |  | 1
750-999 | 1000 | 2 |  |  |  |  | 0.3236% |  |  |  |  | 2
750-999 | 10000 | 2 |  |  | 1.205% |  |  |  |  | 2

## median_capacity_by_count
Count frequency (unique appearances) | Share of panels | Median panel capacity
1 | 0.256% | 408 | The panel sizes that appear only once are typically large
2 | 0.2315% | 415
3 | 0.1999% | 375
4 | 0.0982% | 445
5 | 0.1052% | 390
7 | 0.02455% | 280
8 | 0.08417% | 490
9 | 0.06313% | 537.5
10 | 0.03507% | 210
12 | 0.04208% | 410
17 | 0.1192% | 145
18 | 0.06313% | 80
22 | 0.07716% | 30
25 | 0.08768% | 600
26 | 0.09118% | 140
30 | 0.1052% | 1000
32 | 0.1122% | 230
43 | 0.1508% | 180
49 | 0.1718% | 70
50 | 0.1754% | 110
77 | 0.27% | 225
99 | 0.3472% | 300
104 | 0.3647% | 120
108 | 0.3788% | 50
120 | 0.4208% | 400
129 | 0.4524% | 60
149 | 0.5226% | 240
160 | 0.5611% | 250
173 | 0.6067% | 175
201 | 0.7049% | 220
216 | 0.7575% | 90
820 | 2.876% | 150
3029 | 10.62% | 125
8890 | 31.18% | 100
13585 | 47.64% | 200

## share by bin and count
Share of panels in bin with a given count frequency (e.g. 4% of the panels in the 201+ bin only appear once)
Count frequency | lt_100 | 100 | 101-199 | 200 | 201+ | The largest panel bin has some infrequent panel values
1 | 2.317% | 0% | 0.3472% | 0% | 3.886% | We could drop the panels that only appear once without issue to the sample size of any bin
2 | 1.07% | 0% | 0.1389% | 0% | 4.663% | 21% of the panels in the 201+ bin have sizes that appear less than 10 times
3 | 0% | 0% | 0.2778% | 0% | 3.886%
4 | 0% | 0% | 0% | 0% | 2.418%
5 | 0% | 0% | 0% | 0% | 2.591%
7 | 0% | 0% | 0% | 0% | 0.6045%
8 | 0% | 0% | 0.1852% | 0% | 1.382%
9 | 0% | 0% | 0% | 0% | 1.554%
10 | 0% | 0% | 0% | 0% | 0.8636%
12 | 0% | 0% | 0% | 0% | 1.036%
17 | 0% | 0% | 0.787% | 0% | 0%
18 | 3.209% | 0% | 0% | 0% | 0%
22 | 3.922% | 0% | 0% | 0% | 0%
25 | 0% | 0% | 0% | 0% | 2.159%
26 | 0% | 0% | 0.6019% | 0% | 0%
30 | 0% | 0% | 0% | 0% | 2.591%
32 | 0% | 0% | 0% | 0% | 2.763%
43 | 0% | 0% | 0.9954% | 0% | 0%
49 | 8.734% | 0% | 0% | 0% | 0%
50 | 0% | 0% | 1.157% | 0% | 0%
77 | 0% | 0% | 0% | 0% | 6.649%
99 | 0% | 0% | 0% | 0% | 8.549%
104 | 0% | 0% | 2.407% | 0% | 0%
108 | 19.25% | 0% | 0% | 0% | 0%
120 | 0% | 0% | 0% | 0% | 10.36%
129 | 22.99% | 0% | 0% | 0% | 0%
149 | 0% | 0% | 0% | 0% | 12.87%
160 | 0% | 0% | 0% | 0% | 13.82%
173 | 0% | 0% | 4.005% | 0% | 0%
201 | 0% | 0% | 0% | 0% | 17.36%
216 | 38.5% | 0% | 0% | 0% | 0%
820 | 0% | 0% | 18.98% | 0% | 0%
3029 | 0% | 0% | 70.12% | 0% | 0%
8890 | 0% | 100% | 0% | 0% | 0%
13585 | 0% | 0% | 0% | 100% | 0%

## recommendations
Drop panel sizes that only appear once. They have a small impact on sample size. Affects 73 buildings
Drop houses with 10,000 A if they aren't in 4000ft2 area bin. Affects two buildings (n=3)
Drop panel sizes that are not divisible by 5 (n=38)